## new template
Plant Parent ID | Plant ID | Upstream Isolation | Description | Location | Plant Group Name | Is Plant Item | Is Isolation Point | Is Confined Space | Plant Type | Default Restore Condition | Default Isolation Condition | Is Safety System | Barcode ID | Equipment Num | Is Temporary Item | Plant Identifier | Isolation Point Num | Switchboard Cubicle Number | Circuit Voltage | Is Critical Plant | Drawing Reference | Is Limited Authority | Isolation Type | Method of Proving | Is Passing Valve
FM-58_1-1019 | FM-58_1-1019-150 Ton Press Disc. | FM-58-DP-LAB-1/6 | Disconnect for 150 Ton Press | 55_1-1019 | Accelerator | [13 empty] | 480
FM-58_1-1019 | FM-58_1-1019-Lathe Disc. | FM-58-AP-LAB-6/13,15,17 | Disconnect for Lathe | 55_1-1019 | Accelerator | [13 empty] | 480
FM-58_1-1019 | FM-58_1-1019-South Bend Lathe Disc. | FM-58-AP-LAB-6/14,16,18 | Disconnect for South Bend Lathe | 55_1-1019 | Accelerator | [13 empty] | 480
FM-58_1-1019 | FM-58_1-1019-Milling Machine Disc. | FM-58-DP-LAB-1/5 | Disconnect for MIlling Machine | 55_1-1019 | Accelerator | [13 empty] | 480
FM-58_1-1019 | FM-58_1-1019-Grinder Disc. | FM-58-DP-LAB-1/8 | Disconnect for Grinder | 55_1-1019 | Accelerator | [13 empty] | 480
FM-58_1-1019 | FM-58_1-1019-Pull Press Disc. | FM-58-AP-LAB-6/20,22,24 | Disconnect for Pull Press | 55_1-1019 | Accelerator | [13 empty] | 480
FM-58_1-1019 | FM-58_1-1019-Vertical Saw Disc. | FM-58-DP-LAB-1/4 | Disconnect for Vertical Saw | 55_1-1019 | Accelerator | [13 empty] | 480
FM-58_1-1019 | FM-58_1-1019-Power Shear Disc. | FM-58-DP-LAB-1/7 | Disconnect for Power Shear | 55_1-1019 | Accelerator | [13 empty] | 480
FM-58_1-1019 | FM-58_1-1019-Drill Press Disc. | FM-58-DP-LAB-1/10,12,14 | Disconnect for Drill Press (mounted to drill press) | 55_1-1019 | Accelerator | [13 empty] | 480
FM-58_1-1019 | FM-58_1-1019-Belt Sander Disc. | FM-58-AP-LAB-6/30,32 | Disconnect for Belt Sander (mounted to belt sander frame) | 55_1-1019 | Accelerator | [13 empty] | 480
FM-58_1-1019 | FM-58_1-1019-Grinder/ Buffer Disc. | FM-58-AP-LAB-6/19,21 | Disconnect for Grinder / Buffer (mounted to frame) | 55_1-1019 | Accelerator | [13 empty] | 480
FM-58_1-1019 | FM-58_1-1019-450 Ton Press | FM-58-DP-HVAC-M-3 | Disconnect/ Controller Cabinet for 450 Ton Press | 55_1-1019 | Accelerator | [13 empty] | 480
[5 empty] | Accelerator | [13 empty] | 480
FM-58_1-1016 | FM-58_1-1016-Overhead Hoist | FM-58-DP-LAB-1/7,9,11 | Disconnect for Overhead Hoist | 58-_1-1016 | Accelerator | [13 empty] | 480
FM-58_1-1016 | FM-58_1-1016-Lap Master 36 | FM-58-EDP-HVAC-M-1/20,22,24 | Disconnect for Lapmaster 36 | 58-_1-1016 | Accelerator | [13 empty] | 480
FM-58_1-1016 | FM-58_1-1016-Barrel Polisher | FM-58-EDP-HVAC-M-1/44,46,48 | Disconnect Barrel Polisher | 58-_1-1016 | Accelerator | [13 empty] | 480
FM-58_1-1016 | FM-58_1-1016-TSL Lapping Maching | FM-58-AP-LAB-6/1,3 | Disconnect TSL Laping Machine | 58-_1-1016 | Accelerator | [13 empty] | 480
FM-58_1-1016 | Plant Compressed Air |  |  |  | Accelerator | [13 empty] | 480
[5 empty] | Accelerator | [13 empty] | 480
FM-58_1-1025 | FM-58_1-1025 Big Blue | FM-58-DP-LAB 2/5 | Disconnect for Big Blue | 58-_1-1025 | Accelerator | [13 empty] | 480
FM-58_1-1025 | FM-58_1-1025 Elnik Furnace | FM-58-DP-LAB 2/6 | Disconnect for Elnik Furnace | 58-_1-1025 | Accelerator | [13 empty] | 480
FM-58_1-1025 | FM-58_1-1025 Little Blue | FM-58-AP-LAB 7/20 | Outlet for Little Blue | 58-_1-1025 | Accelerator | [13 empty] | 480
FM-58_1-1025 | FM-58_1-1025 Little Blue | FM-58-AP-LAB 7/20 | Outletfor Little Blue | 58-_1-1025 | Accelerator | [13 empty] | 480
FM-58_1-1025 | FM-58_1-1025 Little Blue | FM-58-DP-LAB 2/11 | Disconnect for Little Blue | 58-_1-1025 | Accelerator | [13 empty] | 480
FM-58_1-1025 | FM-58_1-1025 Little Blue | FM-58-DP-LAB 2/28 | Disconnect for Little Blue Transformer | 58-_1-1025 | Accelerator | [13 empty] | 480
FM-58_1-1025 | Plant Compressed Air |  |  |  | Accelerator | [13 empty] | 480
FM-58_1-1025 | Plant GN2 |  |  |  | Accelerator | [13 empty] | 480
FM-58_1-1025 | Process Cooling Water |  |  |  | Accelerator | [13 empty] | 480
[5 empty] | Accelerator | [13 empty] | 480
[5 empty] | Accelerator | [13 empty] | 480
FM-58_1-1024 | FM-58_1-1024 Elnik Furnace Cryo-Compressor | FM-58-AP-LAB 7/13,15,17 | Disconnect for Elnik Cryo-Compressor | 58-_1-1024 | Accelerator | [13 empty] | 480
FM-58_1-1024 | FM-58_1-1024 Big Blue Cryo-Compressor | FM-58-AP-LAB 2/4 | Disconnect for Big Blue Cryo-Compressor | 58-_1-1024 | Accelerator | [13 empty] | 480
FM-58_1-1024 | FM-58_1-1024 Little Blue Cryo-Compressor | FM-58-AP-LAB 7/8,10,12 | Disconnect for Little Blue Cryo-Compressor | 58-_1-1024 | Accelerator | [13 empty] | 480
FM-58_1-1024 | FM-58_1-1024 EBW Cryo-compressor | FM-58-DP-LAB 2/7,9,11 | Disconnect for EBW Cryo-Compressor | 58-_1-1024 | Accelerator | [13 empty] | 480
FM-58_1-1024 | FM-58_1-1024 EBW Holding Pump | FM-58-AP-LAB 7/36 | Outlet for Holding Pump | 58-_1-1024 | Accelerator | [13 empty] | 480
FM-58_1-1024 | Process Cooling Water |  |  |  | Accelerator | [13 empty] | 480
FM-58_1-1023 | FM-58_1-1023 Electron Beam Welder | FM-58-DP-LAB 2/1 | Disconnect for Electron Beam Welder | 58-_1-1023 | Accelerator | [13 empty] | 480
FM-58_1-1023 | FM-58_1-1023 Overhead Hoist | FM-58-DP-LAB 2/2 | Disconnect for Overhead Hoist | 58-_1-1023 | Accelerator | [13 empty] | 480
FM-58_1-1023 | Plant Compressed Air |  |  |  | Accelerator | [13 empty] | 480
FM-58_1-1023 | Plant GN2 |  |  |  | Accelerator | [13 empty] | 480
FM-58_1-1023 | Process Cooling Water |  |  |  | Accelerator | [13 empty] | 480
FM-58_1-1050 | FM-58_1-1050 BCP | FM-58-AP-LAB-M2/8,10,12 | Disconnect for BCP | 58_1-1050 | Accelerator | [13 empty] | 480
FM-58_1-1050 | FM-58_1-1050 HPR 1 | FM-58-AP-LAB-M2/14,16 | Disconnect for HPR1 | 58_1-1050 | Accelerator | [13 empty] | 480
FM-58_1-1050 | FM-58_1-1050 Lewa 1 | FM-58-DP-LAB-M4/19,21,23 | Disconnect for Lewa 1 | 58_1-1050 | Accelerator | [13 empty] | 480
FM-58_1-1050 | FM-58_1-1050 HPR 2 | FM-58-AP-LAB-T-2/14,16 | Disconnect for HPR 2 | 58_1-1050 | Accelerator | [13 empty] | 480
FM-58_1-1050 | FM-58_1-1050 Lewa 2 | FM-58-DP-LAB-M4/8,10,12 | Disconnect for Lewa 2 | 58_1-1050 | Accelerator | [13 empty] | 480
FM-58_1-1050 | FM-58_1-1050 VEP | FM-58-AP-LAB-M2/2,4,6 | Disconnect for VEP | 58_1-1050 | Accelerator | [13 empty] | 480
FM-58_1-1050 | FM-58_1-1050 VEP Power Supply | FM-58-AP-LAB-T-2/2,4,6 | Outlet for VEP | 58_1-1050 | Accelerator | [13 empty] | 480
FM-58_1-1050 | FM-58_1-1050 VEP Power Supply | FM-58-AP-LAB-T-2/1,3,5 | Outlet for VEP | 58_1-1050 | Accelerator | [13 empty] | 480
FM-58_1-1050 | FM-58_1-1050 CO2 Fire Panel BCP | FM-58-AP-LAB-M2/11 | Disconnect for BCP Fire Panel | 58_1-1050 | Accelerator | [13 empty] | 480
FM-58_1-1050 | FM-58_1-1050 CO2 Fire Panel VEP | FM-58-AP-LAB-M2/11 | Outlet for for VEP Fire Panel | 58_1-1050 | Accelerator | [13 empty] | 480
FM-58_1-1050 | Plant Compressed Air
FM-58_1-1050 | Plant GN2
FM-58_1-1050 | Acid Chilled Water
FM-58_1-1050 | Tepid Water (Showers)
FM-58_1-1050 | Ultrapure Water (UPW)
FM-58_1-1050 | Scrubber
FM-58_1-1050 | Scrubber Phenoix Valves